## Carbon calculator
Sector
Mobility
Car type & engine
g co2/vkm
| Petrol | Petrol*small | 235
|  | Petrol*medium | 245
|  | Petrol*large | 270
Diesel
|  | Diesel*medium | 245
|  | Diesel*large | 285
PHEV
|  | PHEV*medium | 180
|  | PHEV*large | 270
| BEV | BEV*small | 50
|  | BEV*medium | 50
|  | BEV*large | 55
| Km per year | Km in steps of 1000km
|  | (type_emissions*km_year)/1'000'000 = co2_car | t co2
Public transport
| Train/Tram/Bus |  | 0.08kg co2/km
| Km per week | numeric
|  | ((km_week*52)*0.08)/1'000 = co2_publictransport | t co2
Bicycle
g co2/vkm
| Bicycle |  | 17
| E-bike |  | 34
| Bicycle km/week | numeric
| E-bike km/week | numeric
|  | bicycle km_week*17*52/10'000'000 | t co2
|  | e-bike km_week*34*52/10'000'000 | t co2
Plane travel
tons co2
| Short range | <500km | 0.5
| Middle range | 500-2000km | 2
| Long range | >2000km | 7
| No of short return flights | numeric
| No of middle return flights | numeric
| No of long return flights | numeric
|  | #short*0.5+#middle*2+#long*7 | t co2
Food
Diet
tons co2/year
|  | Omnivore | 1.837
|  | Flexitarian | 1.495
|  | Vegetarian | 1.38
|  | Vegan | 1.124
|  | diet = co2_diet | t co2
Housing
Heating
Heating type
kg/10kWh
|  | Oil | 2.65
|  | Gas | 2.25
|  | Electric | 1.28
|  | Heat pump | 1.28
|  | Wood pellets | 0.01
|  | District heating | 0.01
|  | Dont know/other (treated as oil) | 2.65
Heating efficiency
|  | Oil | 0.8
|  | Gas | 0.9
|  | Electric | 1
|  | Heat pump | 3
|  | Wood pellets | 0.85
|  | District heating | 1
|  | Dont know/other/unkown | 1
Home size |  | m2
Household size |  | number
Building standard
kWh/m2&year
|  | old | 120
|  | renovated | 60
|  | new | 40
|  | minergie | 20
|  | homesize*buildingstandard*CO2[heatingtype]/heatingefficiency/ 1'000 = co2_heating | t co2
Total
|  | co2_car+co2_publictransport+co2_conventional + co2_ebike +co2_plane+co2_diet+co2_heating | t co2

## Sources Carbon Calculator
Sector |  |  |  | Survey item | Emission Source
Mobility
Car type & engine
g co2/vkm
| Petrol | Petrol*small | 235 | A3, A4 | Bieker, Georg (2021). "A global comparison of the life-cycle greenhouse gas emissions of combustion engine and electric passenger cars". ICCT White Paper. Retrieved from: https://theicct.org/publications/global-LCA-passenger-cars-jul2021 [last accessed: 20.09.2021]"
|  | Petrol*medium | 245
|  | Petrol*large | 270
| Diesel | Diesel*medium | 245
|  | Diesel*large | 285
| PHEV | PHEV*medium | 180
|  | PHEV*large | 270
| BEV | BEV*small | 50
|  | BEV*medium | 50
|  | BEV*large | 55
| Km per year | Km in steps of 1000km |  | A6
Public transport
| Train/Tram/Bus |  | 0.08kg co2/km |  | Reck, D.J., H. Martin, K.W. Axhausen, 2021. Mode choice, substitution patterns and environmental impacts of shared and personal micro-mobility. Paper presented at the 21st Swiss Transport Research Conference (STRC), Ascona, September. [based on ITF 2020: "Good to Go? Assessing the Environmental Performance of New Mobility". Corporate Partnership Board Report. International Transport Forum. Paris.] Retrieved from: https://www.strc.ch/2021/Reck_EtAl.pdf [last accessed: 05.12.2023]
| Km per week | numeric |  | A8
Bicycle
g co2/vkm
| Bicycle |  | 17 |  | Reck, D.J., H. Martin, K.W. Axhausen, 2021. Mode choice, substitution patterns and environmental impacts of shared and personal micro-mobility. Paper presented at the 21st Swiss Transport Research Conference (STRC), Ascona, September. [based on ITF 2020: "Good to Go? Assessing the Environmental Performance of New Mobility". Corporate Partnership Board Report. International Transport Forum. Paris.] Retrieved from: https://www.strc.ch/2021/Reck_EtAl.pdf [last accessed: 05.12.2023]
| E-bike |  | 34
| Bicycle km/week | numeric |  | A15
| E-bike km/week | numeric |  | A16
Plane travel
tons co2
| Short range | <500km | 0.5 |  | https://co2offset.atmosfair.de/co2offset#/ [last accessed: 05.12.2023] Note: Flight emissions are averages based on popular/typical destinations in the according distance class Shorthaul < 500km: e.g. Cologne Medium haul >500km & < 2'000 km: e.g. Trondheim Long haul > 2'000 km: e.g. Kapstadt
| Middle range | 500-2000km | 2
| Long range | >2000km | 7
| short return flights | numeric |  | A11
| middle return flights | numeric |  | A12
| long return flights | numeric |  | A13
Food
Diet
tons co2/year
|  | Omnivore | 1.837 | A18 | Jungbluth, Niels, Simon Eggenberger, Regula Keller (2015). "Ökoprofil von Ernährungsstilen". ESU-services GmbH im Auftrag des WWF Schweiz, Zürich. Retrieved from: https://www.esu-services.ch/fileadmin/download/jungbluth-2015-Ernaehrungsstile-WWF.pdf [last accessed: 05.12.2023]
|  | Flexitarian | 1.495
|  | Vegetarian | 1.38
|  | Vegan | 1.124
Housing
Heating
kg/10kWh
| Heating type | Oil | 2.65 | A24 | Jäggi, Boris. “Decision Modelling on Household Level for Energy, Fleet Choice and Expenditure.” ETH Zürich; Zürich, 2015. Retreived from: https://doi.org/10.3929/ethz-a-010594497
|  | Gas | 2.25 |  | https://www.energieheld.ch/renovation/nachhaltig-leben/energieverbrauch
|  | Electric | 1.28 |  | https://www.bafu.admin.ch/bafu/de/home/themen/klima/fragen-antworten.html#1369861967
|  | Heat pump | 1.28 |  | https://www.bafu.admin.ch/bafu/de/home/themen/klima/fragen-antworten.html#1369861967
|  | Wood pallets | 0
|  | District heating | 0
|  | Don't know/other/unkown | 2.65 |  | Jäggi, Boris. “Decision Modelling on Household Level for Energy, Fleet Choice and Expenditure.” ETH Zürich; Zürich, 2015. Retreived from: https://doi.org/10.3929/ethz-a-010594497
| Heating efficiency | Oil | 0.8 |  | https://www.energieheld.ch/renovation/nachhaltig-leben/energieverbrauch [last accessed: 06.01.24]
|  | Gas | 0.9
|  | Electric | 1
|  | Heat pump | 3
|  | Wood pellets | 0.85
|  | District heating | 1
|  | Don't know/other/unknown | 1
| Home size | m2 |  | A23
| Household size | number |  | A22
Building standard
kWh/m2&year
|  | old | 120 | A21 | https://energie.ch/heizenergieverbrauch/ [last accessed: 05.12.2023]
|  | renovated | 60
|  | new | 40
|  | minergie | 20

## Priority evaluator calibration
Measure | Measure visible | Measure clickable (if meausre is visible..) | Dropdown clickable (if measure is selected..) | Content dropdown
Mobility
Replace car | if A2 = 1 | AND if 'Sell car' is not selected |  | Petrol, small (e.g. VW Polo, Skoda Fabia) Petrol, medium (e.g. Mercedes Benz A-Klasse, Dacia Sandero) Petrol, large (e.g. VW Tiguan, Seat / Cupra Ateca) Diesel, medium (e.g. Skoda Octavia, BWM 2er Tourer) Diesel, large (e.g. VW Tiguan, Skoda Kodiaq) Plug-in Hybrid, medium (e.g. Volvo V60) Plug-in Hybrid, large (e.g. Volvo XC60) Electric, small (e.g. Renault Zoe, BMW i3) Electric, medium (e.g. VW ID.3, Nissan Leaf) Electric, large (e.g. Hyundai Kona, VW ID.4) Note: by default set at A3*A4 (current car)
Sell car | if A2 = 1
Reduce car mileage | if A1 = 1 | AND if 'Sell car' is not selected | Note: Automatically set at 100 % if 'Sell car' is selected | steps of 10% up to 100% of the current car km (A6)
Compensate with PT (local transport) | if A1 = 1 |  | AND if 'Reduce car mileage' is > 0 | steps of 10% up to remaining percentage of what has been chosen in 'Reduce car mileage'-Dropdown
Compensate with PT (long-distance transport) | if A1 = 1 |  | AND if 'Reduce car mileage' is > 0 | steps of 10% up to remaining percentage of what has been chosen in 'Reduce car mileage'-Dropdown
Compensation with bicycle | if A1 = 1 |  | AND if 'Reduce car mileage' is > 0 | steps of 10% up to remaining percentage of what has been chosen in 'Reduce car mileage'-Dropdown
Compensate with e-bike | if A1 = 1 |  | AND if 'Reduce car mileage' is > 0 | steps of 10% up to remaining percentage of what has been chosen in 'Reduce car mileage'-Dropdown
No compensation | if A1 = 1 |  | not clickable | Automatically shows remaining % of kilometers that have not been compensated
Buy public transport pass | always | always |  | no Travelcard, Regional Transportation Pass (e.g. ZVV, Ostwind, etc.), Halbtax Abonnement, Regional Transportation Pass and Halbtax Abonnement, General-Abonnement (GA Travelcard) Note: by default set at A9_X if applicable
Reduce number of short-haul flights by | if A11 > 0 | always |  | Number of flights selected in A11 Note: by default set at 0
Reduce number of medium-haul flights by | if A12 > 0 | always |  | Number of flights selected in A12 Note: by default set at 0
Reduce number of long-haul flights by | if A13 > 0 | always |  | Number of flights selected in A13 Note: by default set at 0
Food
Diet | always | always |  | Omnivore Flexitarian Vegetarian Vegan Note: by default set at A18 (current diet)
Housing
Insulate roof | if A19 = 1 AND (A20 = 2 OR A20 = 3) AND (A21 = 1 OR A21 = 2) | always
Insulate facade | if A19 = 1 AND (A20 = 2 OR A20 = 3) AND (A21 = 1 OR A21 = 2) | always
Replace windows | if A19 = 1 AND (A20 = 2 OR A20 = 3) AND (A21 = 1 OR A21 = 2) | always
Install solar panels | if A19 = 1 AND A25 = 0 AND (A20 = 2 OR A20 = 3) | always
Install controlled air ventilation | if A19 = 1 AND (A20 = 2 OR A20 = 3) | always
Install heat pump | if A19 = 1 AND (A20 = 2 OR A20 = 3) AND (A24 = 1 OR A24 = 2 OR A24 = 4) | always
Reduce room temperature by | always |  |  | steps of 1 Degree Celsius, ranging from 0 to 5
Other
Buy CO2 certificate | always | always |  | set at zero, allows to buy number of certificates up to the amount of initial emissions (i.e. it is possible to reduce all emissions by buying certificates).

## Priority evaluator adaptations
Priority Evaluator Adaptation Measures | Formula CO2 reductions | Formula One time costs (-) /benefits (+) | Formula Annual costs (-) /benefits (+) | Notes
Housing
First step (reduce heat demand)
Insulate roof | 0.21*co2_heating = co2_roof | (-1)*roof_investment = roof_invest | co2_roof * cost_heating_per_ton = roof_annual
Insulate facade | 0.30*co2_heating = co2_fac | (-1)*fac_investment = fac_invest | co2_fac * cost_heating_per_ton = fac_annual
Replace windows | 0.15*co2_heating = co2_wind | (-1)*wind_investment = wind_invest | co2_wind * cost_heating_per_ton = wind_annual
Install solar panels | 0.12*co2_heating = co2_solar | (-1)*solar_investment = solar_invest | co2_solar * cost_heating_per_ton = solar_annual | This measure should have been applied in the second step for consistency
Install controlled air ventilation | 0.12*co2_heating = co2_air | (-1)*air_investment = air_invest | co2_air * cost_heating_per_ton = air_annual
Remaining emissions after reductions | co2_heating - (co2_roof+co2_fac+co2_wind+co2_solar+co2_air) = co2_remain |  |  | If all housing reductions are chosen, the remaining emissions make up 10% of initial housing emission by default
Second step
Install heat pump | 0.66*co2_remain = co2_heatpump | (-1)*heatpump_imvestment = heatpump_invest | co2_heatpump * cost_heating_per_ton = heatpump_annual | heat pump reduces 2/3 of remaining emissions after refurbishment measures
Reduce room temperature by | 0.05*TempRed*co2_remain = co2_temp |  | co2_temp * cost_heating_per_ton = temp_annual | temperature reduction saves 5% of remaining emissions after refurbishment measures per degree celsius
Total housing emission after adaptations | co2_remain - co2_heatpump - co2_temp = co2_housing_final
Total housing cost/benefits |  | fac_invest + wind_invest + solar_invest + air_invest + heatpumpt_invest = house_invest | fac_annual + wind_annual + solar_annual + air_annual + heatpump_annual + temp_annual = house_annual
Food
Total diet emissons after adaptations | co2_food - co2_food_new = co2_food_final | - | -
Mobility
First step
Sell car | (-1)*co2_car*km_car_annual = co2_car_sell | car_value_old | car_old_variable_costs + car_old_fixed_costs = sell_car_annual | sets km per Year to 0, excludes the possibility to replace the car
OR
Replace car | (co2_car_new*km_car_annual)/1'000'000 - (co2_car_old*km_car_annual)/1'000'000 = co2_car_red | car_value_old - car_value_new = car_new_invest | (car_old_variable_costs + car_old_fixed_costs) - (car_new_variable_costs + car_new_fixed_costs) = car_replace_annual
Second step
Reduce car mileage | (1-red_car_mileage)*km_car_annual*co2_car/1'000'000 = co2_red_car_annual |  | red_car_mileage * car_current_variable_costs = red_car_mileage_annual | only possible if car has not been sold
Compensate with PT (local transport) | share_comp_pt_short*km_car_annual*co2_publictransport/1'000*(-1) = co2_comp_pt_short |  | comp_pt_short_annual
Compensate with PT (long-distance transport) | share_comp_pt_long *km_car_annual*co2_publictransport/1'000*(-1) = co2_comp_pt_long |  | comp_pt_long_annual
Compensation with bycicle | share_comp_bicycle *km_car_annual*52/10'000'000*co2_bicycle*(-1) = co2_comp_bicyle | if A15 = 0 AND share_comp_bicycle > 0, then bike_invest
Compensate with e-bike | share_comp_ebike *km_car_annual*52/10'000'000*co2_ebike*(-1) = co2_comp_ebike | if A16 = 0 AND share_comp_ebike > 0, then ebike_invest
No compensation | - |  |  | indicates the percentage of reduced annual mileage that has not been compensated
Emissions total of car incl. Compensation | co2_car_current - co2_red_car_annual_final + co2_comp_pt_short + co2_comp_pt_long + co2_comp_bicycle + co2_com_ebike = co2_car_final
Buy public transport pass | - |  | ticketpass_annual
Reduce number of short-haul flights by | #_flightshort_red * co2_flightshort = co2_red_flightshort |  | #_flightshort_red * flightshort_cost = flightshort_annual
Reduce number of medium-haul flights by | #_flightmedium_red * co2_flightmedium = co2_red_flightmedium |  | #_flightmedium_red * flightmedium_cost = flightmedium_annual
Reduce number of long-haul flights by | #_flightlong_red* co2_flightlong = = co2_red_flightlong |  | #_flightlong_red * flightlong_cost = flightlong_annual
Emissions total of flights | co2_plane - co2_red_flightshort - co2_red_flightmedium - co2_red_flightlong = co2_flights_final
Total transport emissions after adaptations | co2_car_final + co2_flights_final + co2_bicycle + co2_ebike + co2_pt = co2_transport_final |  |  | (E-)Bike and PT does not change in PE
Total transport cost/benefits |  | car_value_old + car_new_invest bicycle_invest + ebike_invest = mobility_invest | sell_car_annual + car_replace_annual + ticketpass_annual + flightshort_annual + flightmedium_annual + flightlong_annual = mobility_annual
Other
Buy CO2 certificate | #_co2_certificates* 1t_co2 = co2_red_certificates | - | #_co2_certificates * certificate_cost = cert_annual | certificate_cost is randomly assigned (see table)
Total
Total without certificates | co2_housing_final + co2_food_final + co2_transport_final = co2_total
Final total emissions Housing | co2_housing_final * (1 - co2_red_certificates / co2_total) = co2_housing_cert
Final total emissions Food | co2_food_final * (1 - co2_red_certificates / co2_total) = co2_food_cert
Final total emissoins Mobility | co2_transport_final * (1 - co2_red_certificates / co2_total) = co2_transport_cert
Final total emissions | co2_housing_cert + co2_food_cert + co2_transport_cert = co2_final
Final costs / benefits |  | house_invest + mobility_invest = total_invest | house_annual + mobility_annual + cert_annual = total_annual

## Sources priority evaluator
Priority Evaluator Adaptation Measures Sources |  |  |  |  | Source
Housing
Survey input
Home size | numeric | m2 |  |  | A23
Heating type (oil, gas, electric) |  |  |  |  | A24
oil
electricity
wood
natural gas
heating pump
district heating
other/dk
HH members | numeric |  |  |  | A22
Building standard |  |  |  |  | A21
old
renovated
new
minergie
Background input
co2_heating | numeric | t |  |  | Carbon calculator
HometypekWh
kWh/m2&year
| old | 120 |  |  | https://energie.ch/heizenergieverbrauch/ [last accessed: 08.12.2023]
| renovated | 60
| new | 40
| minergie | 20
energy_price_ch_av
CHF
| petrol (/l) | 1.53 |  |  | BSF LIK, Durchschnittspreise für Energie und Treibstoffe, Monatswerte (ab 1993) und Jahresdurchschnitte (ab 1966); su-d-05.02.91 Retrieved from: https://www.bfs.admin.ch/bfs/de/home/statistiken/kataloge-datenbanken.assetdetail.29987548.html [last accessed: 08.12.2023]
| diesel (/l) | 1.54
| oil (/kWh) | 0.087
| gas (/kWh) | 0.091
| electricity (/kWh) | 0.21
| wood (pellet) (/kWh) | 0.08 |  |  | https://www.propellets.ch/heizen-mit-pellets/zahlen-und-fakten/pelletpreis.html [last accessed: 08.12.2023]
| district heating (/kWh) | 0.1 |  |  | https://www.iwb.ch/Service/Online-Schalter/Preise-und-Tarife/Fernwaermetarife-01.10.2018.html [last accessed: 08.12.2023]
heating_efficiency
efficiency factor
| oil | 0.8 |  |  | https://www.energieheld.ch/renovation/energieverbrauch [last accessed: 08.12.2023]
| gas | 0.9
| electricity (heat pump) | 3
| wood (pellet) | 0.85
| district heating | 1
| electricity | 1
heating_costs_per_person_year
|  | energy_use | CHF
| oil | (HometypekWh* Home size)/ HH members | (enegy_use/efficiency factor)*energy_price_ch_av
gas
electricity (heat pump)
wood (pellet)
district heating
electric
cost_heating_per_ton
| oil | heating_costs_per_person_year / co2_heating
gas
electricity (heat pump)
wood (pellet)
district heating
electric
investment costs house (detached) |  |  |  |  | Amount CH average: After having consulted with GEAK (Gebäude­energieausweis der Kantone), it became clear that it won't be possible to find average values for swiss detached and semi-detached/terraced houses. I therefore based my assumptions regarding the roof and facade size of average swiss detached and semi-detached houses by looking at typical houses in Switzerland with a tool provided on evalo.ch that allows to estimate houses roof and facade surface based on Google maps data. Investment per unit in CHF: Roof/facade/heat pump: https://www.raiffeisen.ch/casa/de/immobilien-sanieren/sanierungskosten/erneuerungskosten-haus-renovieren.html [last accessed: 12.02.2024] Solar panels: https://www.energieheld.ch/solaranlagen/photovoltaik/kosten [last accessed: 12.02.2024] Ventilation system: https://www.energieheld.ch/heizung/raumluft/lueftungsanlage [last accessed: 12.02.2024] Windows: https://www.energieheld.ch/renovation [last accessed: 12.02.2024]
|  | amount CH average | investment per unit in CHF | investment total
| Refurbishment of roof | 200 m2 | 350 | 70'000 (= roof_investment)
| Refurbishment of facade | 250 m2 | 275 | 68'750 (= fac_investment)
| Replacement of windows | 14 | 1200 | 16'800 (= wind_investment)
| Installment of solar panels |  | 21000 | 21'000 (= solar_investment)
| Installment of ventilation system |  | 18000 | 18'000 (= air_investment)
| Installment of heat pump |  | 35000 | 35'000 (= heatpump_investment)
investment costs house (semi-detached)
|  | amount CH average | investment per unit in CHF | investment total
| Refurbishment of roof | 100 m2 | 350 | 35'000 (= roof_investment)
| Refurbishment of facade | 180 m2 | 275 | 49'500 (= fac_investment)
| Replacement of windows | 10 | 1200 | 12'000 (= wind_investment)
| Installment of solar panels |  | 21000 | 21'000 (= solar_investment)
| Installment of ventilation system |  | 18000 | 18'000 (= air_investment)
| Installment of heat pump |  | 35000 | 35'000 (= heatpump_investment)
Food
Background input
tons co2/year
| Omnivore | 1.837 |  |  | Jungbluth, Niels, Simon Eggenberger, Regula Keller (2015). "Ökoprofil von Ernährungsstilen". ESU-services GmbH im Auftrag des WWF Schweiz, Zürich. Retrieved from: https://www.esu-services.ch/fileadmin/download/jungbluth-2015-Ernaehrungsstile-WWF.pdf [last accessed: 05.12.2023]
| Flexitarian | 1.495
| Vegetarian | 1.38
| Vegan | 1.124
Mobility
Survey input
Car type |  |  |  |  | A2
Petrol
Diesel
BEV
PHEV
Size |  |  |  |  | A3
Small
Medium
Large
km_car_annual | numeric | km |  |  | A5
car_value_old | numeric | CHF |  |  | A4
Season pass ownership
| no Travelcard |  |  |  | A9_X
Regional Transportation Pass (e.g. ZVV, Ostwind, etc.)
Halbtax Abonnement (Half Fare Travelcard)
Regional Transportation Pass (e.g. ZVV, Ostwind, etc.) and Halbtax Abonnement
General-Abonnement (GA Travelcard)
Background input
co2_publictransport |  | 0.08kg CO2 / km |  |  | Reck, D.J., H. Martin, K.W. Axhausen, 2021. Mode choice, substitution patterns and environmental impacts of shared and personal micro-mobility. Paper presented at the 21st Swiss Transport Research Conference (STRC), Ascona, September. [based on ITF 2020: "Good to Go? Assessing the Environmental Performance of New Mobility". Corporate Partnership Board Report. International Transport Forum. Paris.] Retrieved from: https://www.strc.ch/2021/Reck_EtAl.pdf [last accessed: 05.12.2023]
co2_flightshort |  | 0.5t CO2 |  |  | https://co2offset.atmosfair.de/co2offset#/ [last accessed: 05.12.2023] Note: Flight emissions are averages based on popular/typical destinations in the according distance class Shorthaul < 500km: e.g. Cologne Medium haul >500km & < 2'000 km: e.g. Trondheim Long haul > 2'000 km: e.g. Kapstadt
co2_flightmedium |  | 2t CO2
co2_flightlong |  | 7t CO2
co2_bicycle |  | 17g CO2 / km |  |  | Reck, D.J., H. Martin, K.W. Axhausen, 2021. Mode choice, substitution patterns and environmental impacts of shared and personal micro-mobility. Paper presented at the 21st Swiss Transport Research Conference (STRC), Ascona, September. [based on ITF 2020: "Good to Go? Assessing the Environmental Performance of New Mobility". Corporate Partnership Board Report. International Transport Forum. Paris.] Retrieved from: https://www.strc.ch/2021/Reck_EtAl.pdf [last accessed: 05.12.2023]
co2_ebike |  | 34g CO2 / km
co2_car
g co2/vkm
| Petrol | Petrol*small | 235 |  | Bieker, Georg (2021). "A global comparison of the life-cycle greenhouse gas emissions of combustion engine and electric passenger cars". ICCT White Paper. Retrieved from: https://theicct.org/publications/global-LCA-passenger-cars-jul2021 [last accessed: 20.09.2021]"
|  | Petrol*medium | 245
|  | Petrol*large | 270
| Diesel | Diesel*small | 235
|  | Diesel*medium | 245
|  | Diesel*large | 285
| PHEV | PHEV*small | 160
|  | PHEV*medium | 180
|  | PHEV*large | 270
| BEV | BEV*small | 50
|  | BEV*medium | 50
|  | BEV*large | 55
Car costs
CHF
|  | car_X_variable_costs | km_car_annual*(car_fuel_usage/100)*energy_price_ch_av+car_km_annual*(car_electricity_usage/100)*energy_price_ch_av
|  | car_X_fixed_costs | 2650 + 0.134 * car_value |  | "Jäggi, Boris. “Decision Modelling on Household Level for Energy, Fleet Choice and Expenditure.” ETH Zürich; Zürich, 2015. Retreived from: https://doi.org/10.3929/ethz-a-010594497 [last accessed: 08.12.2023] Erath, Alexander and Kay W. Axhausen. 2010. "Long term fuel price elasticity: Effects on mobility tool ownership and residential location choice." Arbeitsberichte Verkehrs- und Raumplanung 615.
car_value_new
CHF
|  | Petrol*small | 17500 |  | Prices are average prices of the two best selling newly registered cars per car type*size from 2020 to Sept 2021. Data has been retrieved from: https://www.auto.swiss/# [last accessed: 08.12.2023]
|  | Petrol*medium | 20000
|  | Petrol*large | 33000
|  | Diesel*small | -
|  | Diesel*medium | 40000
|  | Diesel*large | 45000
|  | PHEV*small | -
|  | PHEV*medium | 49000
|  | PHEV*large | 64000
|  | BEV*small | 37000
|  | BEV*medium | 33000
|  | BEV*large | 43000
ticket_factor_ptShort |  | Regional Transportation Pass or GA | 0
|  | Halbtax Abonnement | 0.5
|  | No Travelcard | 1
ticket_factor_ptLong |  | GA | 0
|  | Halbtax Abonnement | 0.5
|  | No Travelcard | 1
PT costs (comp_pt_short/long_annual)
|  |  | (0.2588*(red_car_mileage*km_car_annual)+5.1926) * (ticket_factor_ptLong OR ticket_factor_ptShort) |  | this takes the Rp./km tariff by SBB for second class, for the mean trip distance (in CH = 30km) https://www.allianceswisspass.ch/de/tarife-vorschriften/uebersicht TARIF 601 [last accessed: 08.12.2023]
Car Energy Usage (old/newcar_fuel_usage & old/newcar_electricity_usage)
|  |  | fuel (l) consumption per 100km | electricity (kWh) consumption per 100km
|  | Petrol*small | 6.5 |  | Bieker, Georg (2021). "A global comparison of the life-cycle greenhouse gas emissions of combustion engine and electric passenger cars". ICCT White Paper. Retrieved from: https://theicct.org/publications/global-LCA-passenger-cars-jul2021 [last accessed: 20.09.2021]"
|  | Petrol*medium | 7.1
|  | Petrol*large | 7.9
|  | Diesel*small | 5.4
|  | Diesel*medium | 5.9
|  | Diesel*large | 7.2
|  | PHEV*small | -
|  | PHEV*medium | 4.1 | 12.1
|  | PHEV*large | 4 | 14.8
|  | BEV*small |  | 19.9
|  | BEV*medium |  | 20.6
|  | BEV*large |  | 21.9
Season pass prices
CHF
|  | no Travelcard | -
|  | Regional Transportation Pass (e.g. ZVV, Ostwind, etc.) | 800 |  | Average price for regional transportation pass (ZVV/OSTWIND, 3-4 zones): https://www.ostwind.ch/billette-abos/abos/monats-und-jahresabos/ https://www.zvv.ch/zvv/de/abos-und-tickets/abos/netzpass.html [last accessed: 08.12.2023]
|  | Halbtax Abonnement (Half Fare Travelcard) | 180 |  | https://www.sbb.ch/de/billette-angebote/abos/halbtax.html [last accessed: 08.12.2023]
|  | Regional Transportation Pass (e.g. ZVV, Ostwind, etc.) and Halbtax Abonnement | 980 |  | see prices for Regional Transportation Pass and Halbtax
|  | General-Abonnement (GA Travelcard) | 3860 |  | https://www.sbb.ch/de/billette-angebote/abos/ga/ga-preise.html [last accessed: 08.12.2023]
Investment costs bicycle
|  | ebike_invest | 3000 |  | Approx. Average Price for new E-Bike
|  | bike_invest | 800 |  | Approx. Average Price for new Bicycle
Flight costs (return)
CHF
|  | short haul | 200 |  | https://www.swoodoo.ch/ [last accessed: 08.12.2023] Note: Prices were based on averages for popular/typical destinations in the according distance classes at time of survey fielding: Shorthaul < 500km: e.g. Cologne Medium haul >500km & < 2'000 km: e.g. Trondheim Long haul > 2'000 km: e.g. Kapstadt
|  | medium haul | 400
|  | long haul | 1200
Other
Background input
certfiicate_cost
| #_co2_certificates | t CO2eq/year | CHF min | CHF max
| 1 | 1 | 10 | 200 | Note: Starting value for certificate price randomly varies between 10.- CHF and 200.- CHF per ton. Prices per ton increase by factor 1.04 with each additional ton. The formula for calculating the price for the number of certificates chosen is thus: tons_compensated*basePrice * 1.04^(tons_compensated - 1). The lowest starting value has been chosen as the price per ton paid in the European Carbon Trading scheme during time of conceptualising the survey, the highest starting value in the range of prices per ton that would need to be paid through direct air capture. Sources: https://ember-climate.org/data/data-tools/carbon-price-viewer/ https://climeworks.com/subscriptions [last accessed: 08.12.2023]
| 2 | 2 | 20.8 | 416
| 3 | 3 | 32.448 | 648.96
| 4 | 4 | 44.9946 | 899.8912
| 5 | 5 | 58.4929 | 1169.8586
| 6 | 6 | 72.9992 | 1459.9835
| 7 | 7 | 88.5723 | 1771.4466
| 8 | 8 | 105.2745 | 2105.4908
| 9 | 9 | 123.1712 | 2463.4243
| 10 | 10 | 142.3312 | 2846.6236